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CO CIPKeBiP
Centre of excellence for integrated approaches
in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana

VAT number: SI90147502
Tel. +386 1 477 3857, Fax. +386 1 477 3984

www.cipkebip.org 
Code of contract by open procedure: 17-2011
Date: 13.10.2011
Invitation to submit a tender
for the contract by open procedure for the purchase of 

Superresolution Combined Light Microscopy
Based on the Public Procurement Act, ZJN-2 (Official gazette of the Republic of Slovenia, no. 128/06, Official Journal of the European Union, no. 317/07, Official gazette of the Republic of Slovenia, no. 16/08, 34/08, Official Journal of the European Union, no. 314/09, Official gazette of the Republic of Slovenia, no. 19/10 and 18/2011), in accordance with the 25th Article of ZJN-2 and a Decision to initiate the contract by open procedure of 3 June 2011, we invite you to submit a tender for the contract by the open procedure for the purchase of Superresolution Combined Light Microscopy.

The estimated value of the contract by the open procedure is 487.500,00 EUR without value added tax.
The tender documentation is available on the internet: http://www.cipkebip.org/ .
The contracting authority may, in accordance with the 80th Article ZJN-2 before opening the bids at any time suspend the public procurement process or after the deadline for opening bids reject all bids.
1. Object of the contract
The object of the contract by the open procedure is a purchase of Superresolution Combined Light Microscopy.
2. Complete tender
A complete tender should include:
a)
A completed and signed bidder information Form A
b)
A completed and signed pro-forma invoice Form B
c)
A completed and signed declaration of eligibility Form C
d)
Statement of compliance with the technical requirements Form D
e)
Statement of the servicing response time Form E
f)
Submitted evidence of collaborations within the past five years with different subscribers Appendix No. 1
g)
Completed and signed draft sales agreement Appendix No. 2
Tender documents should be put together in the above order and tied together on the way that individual sheets or attachments cannot be added, taken away or replicated at a later stage. The submitted forms should be signed and stamped. Please attach also a photocopy of the entire tender (sheets should not be tied together).
The bidder must meet the following conditions (as evidenced by the statement - Form C):
1. The bidder has valid registration to do business.
2. The bidder has a valid permit from the competent authority for the business, which is the subject of the contract, if the permission of such activities is requested and provided on the basis of special law.
3. The bidder and each of legal representatives, if a legal person is in question, have been not convicted of crimes specified in the first and second paragraph of 42nd Article of the ZJN-2.
4. The bidder has to ensure that is not in the list of business entities which, under the Prevention of Corruption Act, could not business with entities from 1, 2 and 3 paragraph of 28 articles on the Prevention of Corruption Act - ZPKor (Official Gazette RS, no. 8/04).
5. The bidder has to ensure that is not in compulsory settlement, bankruptcy or liquidation, and against the bidder has not been introduced the procedure of the compulsory settlement, bankruptcy or liquidation.
6. Member of the management, supervisory authority or service agent, as provided by law governing financial management, insolvency proceedings and compulsory winding up, at any time within two years prior to the deadline for submission of tenders in the procurement procedure has not been shareholder with ownership share of more than 25 percent or shareholder of the equity shares of more than 25 percent, or member of management or supervisory authority or agent of the entity over which was initiated bankruptcy proceedings or receivership or is being compulsorily wound.
7. The provider has no outstanding, outstanding obligations relating to the payment of social insurance and in respect of payment of taxes in accordance with the legal provisions of the country in which he is established or with those applicable in the Republic of Slovenia.
8. The bidder has to ensure that all outstanding obligations to the subcontractors in the previous public procurement procedures (Article 44 ZJN-2) have been paid.
9. The bidder has to ensure that is in accordance with the requirements of the contracting authority capable of performing the contract object technically, personally, timely and financially.
10. The bidder has to ensure that is not in the list of bidders with negative references prepared by the Ministry of Finance.
11. The bidder has to ensure that didn’t get any additional penalty regarding the participation in public procurements on the basis of Article 15.a of the liability of legal persons for criminal acts (Official Gazette RS, no. 98/04 - ZOPOKD - UPB1 and 65/08).
Other conditions: 
a)
Pro-forma invoice should be valid for the duration of the contractual relationship. 
b)
All prices should be expressed in Euros. The final price should include all its constituent elements. Any discounts and the VAT should be shown separately. 
c)
The pro-forma invoice should valid at least 3 months. 
d)
The time of performance delivery shouldn’t be more than 30 days from the date of signing the contract. For each day of delay in execution of contractual obligations amounts to a penalty of 0.25% of contract value, including VAT but no more than 10% of contract value, including VAT.
3. Technical requirements
Requirements and components to be included in the supply and installation of the equipment:
	1
	Specification(s) microscope stand
	Fully motorized inverted research microscope for Superresolution microscopy.

6 Position motorized nosepiece, suitable for DIC, with automatic recognition of objectives. Motorized Z drive, minimum step size 10nm, motorized magnification changer with additional factor of 1,6x. Motorized Apo-chromatic corrected optical path for reflected Light, Metal Halide light source of at least 120W power, The dimming of the light and shutter control must be controllable via Software. High efficiency  (transmission over 95%) Filter set for fluorochromes:  GFP+mRFP+Alexa 633, shift free.

6 Position reflector revolver with automatic filter recognition.

The exchange of filters without any tool.

Transmitted light Illumination 100W.

Motorized condenser 0,55, long working distance with contrast techniques Bright field, Phase contrast, DIC.

Controls of all motorized microscope components via TFT, which is mounted on docking station.

Binocular tube with eyepieces of at least 23 FOV, suitable for spectacle wearers.

Enclosure for temperature incubation 

and laser safety.

	2
	Achieved resolution through structural illuminations
	

	3
	Typical lateral resolution
	100 - 120 nm (for 488)

	4
	Typical axial resolution
	300 - 350 nm  (for 488 nm)

	5
	Maximal lateral Resolution
	90 nm for 488 nm theoretical

	6
	Maximal axial Resolution
	250 nm for 488 nm theoretical

	7
	Excitation laser sources (Lasers)
	405nm- 50mW, 488nm-100mW, 561nm-100mW. The System must be prepared for later upgrade with laser line  642nm100mW at customer site.

	8
	Gratings for structural illumination microscopy
	Automatic motorized selection of 5 structured illumination grids with appropriate spacing to perfectly match objectives and wavelengths. This ensures optimal superresolution in any combination between wavelengths and objectives.

	
	Achiavable resolution through localization techniques (PALM, STORM) in various modes
	

	9
	Single fluorophore localization precision
	Unlimited,  dependent on number of collected photons and /or signal to noise ratio.; typical 20 nm.

	10
	Special scanning stage (xy and z movements) for 3D acquisition, tiling and stitching
	Scanning stage: Traveling range in X Y;  130 x 100mm,resolution: 0.25 µm, reproducibility: < 1 µm, absolute Accuracy: +/- 5 µm; Traveling range in Z 100 µm resolution 5 nm  reproducibility +/- 1nm. 

4 adjusted positions for SIM: BP420-480;BP495-575;BP570-620;LP 655 (multi-colour) or BP420-480/BP570-640; BP420-480/BP 495-560/LP 650; LBF-561/642; LBF-488/561 (fast dual channel).

	11
	Specifications of  Fluorescence Filters
	High efficiency  (transmission over 95%) Filter set for fluorochromes:  GFP+mRFP+Alexa 633, shift free

Filterset DualView CFP/YFP.

	12
	Specification of Objectives
	Plan-Apochromat 63x/NA 1,40 Oil DIC  for Superesolution.
Required Transmission more than 30% in the range 400nm-1050nm. 

Objective EC Plan-Neofluar 10x/0.3 M27, W.D. 5,2mm.

	13
	Incubator for laser safety and radiation to surrounding 
	System table, compatible with base-port cameras active air dampening, dimensions : 750x900x770mm.

	14
	Polychrome V with workstation, Software for imaging nad camera Andor Luca S with image splitter  Dualview, with filters for FRET YFP; CFP–
	Monochromator-based illumination system for fluorescence microscopy:

- Wavelength range from 320-680 nm

- Wavelength switching speed of upto 400 nm/ms by galvanometric scanner

- Jump to any supported wavelength with less than 1.7ms transition time.

- 150WXenon-Lamp (UXL-S150MO) with highly

- Quartz fiber to couple the polychrome to the condenser

Achromatic EPI-Fluorescence Condenser 1-Port for inverted microscope

High End Imaging Workstation RAID

- Intel Xeon W3530

(2,8GHz,4C, 8T, 8MB L3 Cache, 4,8GT/s)

- 6GB RAM (1333MHz ECC DDR3 2x2GB)

- 1x250GB S-ATA hard disk

- 2x1TB S-ATA hard disk 7200rpm

- Software: Windows XP, Office 2007 Basic

19" TFT Flat Panel Screen 2x

C-mount adapter  for camera

EMCCD  Camera for rapid acquisition

- QE 52% @500nm

- TE cooling-: -20°C

- Chip: 658 x 496 Pixel

- Pixel Size: 10x10um

- Readout Rate: 12,5Mhz

- Readout Noise: 15e-, <1e- with EM-gain

- Dark Current: 0.05 e-/pix/s

- Digitization: 14bit

- EM-Gain: 1-200

Live Acquisition Advanced Bundle

Includes the following software modules:

- Live Acquisition

- Protocol Editor

- Offline Analysis

On- and Offline analysis module for Kinetics and RATIO are included

Installation & startup support

1 day in our laboratory.

	15
	Objective C-Apochromat 63x/1.20 W Corr
	The objective must be compatible with existing microscope Axio Observer A1.

	16
	Plan-Apochromat 63x/1.40 Oil DIC for DualView
	


Software
	1
	For control and evaluation for photo activated localized microscopy

and for control and evaluation for structure illuminated microscopy

	2
	Acquisition parameters are stored with each image (pixel size acquisition tine, etc).

	3
	User-specific, individual workspace setups can be stored within the software according to the user’s needs and applications.

	4
	Single particle tracking, fiducial correction, activation power controlled

	5
	User friendly pixel-by-pixel overlap calibration for all detection channels (compensation for lateral pixel shifts and also pincushion-type distortions). Additionally drift compensation by fiducial tracking on all detection channels.

	6
	Specifications of PC to drive the microscope

- CPU: 2x Intel Xeon X5650 6-Core 2.66 GHz 12 MB / 1333 MHz, Chipset:Dual Intel 5520

- Graphics card ATI FirePro V5800 (1GB) or similar

- Memory: max. 96 GB RAM (2 CPUs);

- Memory slots: 12 x DDR3-RAM Module / 1333 MHz ECC (2 CPUs)

- current Memory: 6 x 4GB

- Hard drives: 1 x 250 GB SATA 7200 upm and 4 x 1 TB SATA 7200 upm

(configured as 2 TB RAID 10 hard drive)

- DVD +/- RW

- LAN: 2x 10/100/1000 on-board ethernet

- USB 2.0 (3 x front, 6 x rear), 2 x FireWire

- Win 7 Ultimate 64 bit

- LVDS - express Interface

	7
	Visualization modes: standard 2D, gallery mode (by channel, time or z-section), orthogonal views (xy, xz or yz), cut (3D section), simple 3D renderings (transparent, maximum projection, surface, etc).

	8
	Image processing: Maximum intensity projection, depth coding in false colours, brightness, contrast and gamma settings, color selection tables (LUTs), drawing and annotation tools (e.g. scale bar), measurement of distances and angles, simple image operations (addition, subtraction, multiplication, division), shifting and filtering (gauss, median, etc.), image correlation (ICS), channel shift and many more possibilities.

	9
	Accessof raw data

	10
	Export of raw data (yes/no)

	11
	Batch export (yes/no)

	12
	Specifiaction(s) of non proprietary image formats:

TIF, BMP, GIF, JPG, PNG


4. Award criteria and conclusion of contract
The contracting authority will eliminate tenders which do not fulfil all the conditions of the contracting authority listed in the second (Complete tender) and third points (Technical requirements) and will not be evaluated. The contracting authority has the right to exclude the offer from further consideration, if the offer is not made up as determined by the tender conditions.
The tender price must be expressed in Euros and not exceed 585.000,00 Euros, including VAT. All individual items of the price must be denominated in Euros. The final price should include all elements of its constituent, including transport costs, with a functional layout of the equipment and training for users. Discounts and VAT must be shown separately.
The contracting authority does not allow the submission of variants.

The criterion for the selecting of the most appropriate bidder is price. Subject to compliance with all technical requirements of the contracting authority will select a bidder who will offer the lowest bid price, including VAT and the price without VAT.
In the case that more bidders offer the same best price, the contracting authority will choose a bidder that will provide the shortest delivery time.
After adopting the report on awarding the public contract, the contracting authority shall send, in line with the provisions of Article 79 of the ZJN-2 to all bidders, its decision on awarding the public contract. 

The refused bidder can submit, to the contracting authority, a request for an additional explanation regarding the decision on awarding a public contract. This request has to clearly state which issues should be additionally explained by the contracting authority, and it should be submitted within three working days of the receipt of the notification regarding the contracting authority's decision. If the bidder’s request is not submitted duly, if it is incomplete and if it does not comply with the conditions for the submission of the additional explanation, the contracting authority shall dismiss the request. The contracting authority has to send the requested additional explanation regarding its decision, or a notification of the dismissal of the request, to the concerned bidder within three working days. The day of receipt of the additional explanation regarding the awarding of the public contract, or the day of the receipt of the decision on awarding the public contract if the request is dismissed are also the beginnings of the period in which a request for an audit can be submitted in line with the provisions of the Auditing of Public Procurement Procedures Act.
When sending out the notification on its decision, the contracting authority shall also invite the selected bidder to sign the contract in line with the specifications of the bid. If the selected bidder does not respond to this invitation (within 10 days of the receipt of the notification regarding the awarding of the public contract), it shall be considered that the bidder withdrew from the bidding procedure. In this case the contracting authority shall redeem the Tender Bond irrespective of the bidder’s reasons for withdrawal.

The contract will be concluded with selected bidder.

The deadline for payment is 60 days from receipt of correct invoice.
5. Delivery requirements and time limit for submission of tender
The tender with all the required forms and attachments must be submitted in a sealed envelope in person (Dr. Livija Tušar) or by mail to the following address:
CO CIPKeBiP

Centre of excellence for integrated approaches in chemistry and biology of proteins
Jamova cesta 39

SI-1000 Ljubljana

Slovenia

In the lower left corner of the envelope must be a visible sign DO NOT OPEN – TENDER for contract by open procedure – Contract code: 17-2011. 
The reverse side must bear the full address of the sender, its telephone number and email address. 
The tender is considered timely if it will be received by the contracting authority no later than on Friday 25 November 2011 until 10.00 hours or sent by post as registered mail with acknowledgement of receipt and received by the contracting authority by the above date.
Late and incorrectly marked tenders shall be excluded from the further procedure and returned to the senders without having been opened. 
Applications could be written in Slovenian or English language, the financial part of it must be shown in Euros.
6. Queries relating to the tender documentation
Queries relating to the tender documentation can only be placed through the Public-Procurement Portal of the Official Gazette of the Republic of Slovenia:  http://www.enarocanje.si/ . 
The bidders could send in writing to the above address the requests for additional queries until 22 November 2011 until 10.00 hours. The contracting authority shall answer which will be published at Public-Procurement Portal of the Official Gazette of the Republic of Slovenia.

The contracting authority shall not answer queries over the telephone. 
7. Supplementations and changes of contract by open procedure

The contracting authority self reserves the right to amend or to supplement tender documents

 HYPERLINK "javascript:IzberiBesedo2(2,44)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." . In case

 HYPERLINK "javascript:IzberiBesedo2(4,51)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." , that the contracting authority within a time period will modify or supplement the tender documentation

 HYPERLINK "javascript:IzberiBesedo2(6,517)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." , all changes will be published on his web page (http://www.

 HYPERLINK "javascript:IzberiBesedo2(7,791)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." cipkebip.org/ ) and on Public-Procurement Portal.
After the deadline for receipt of tenders the contracting authority will not alter or supplement contract documentation.
8. The public opening of tenders

The public opening of tenders will be at 10.30 hours on 25 November 2011 at the following address:
CO CIPKeBiP 

Center of Excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39

1000 Ljubljana, Slovenia

Room J422 (Building J, 4th flat)
The representatives of the bidders wishing to be present at the opening, should present a letter authorising them to attend the event to the selection board prior to the opening of the tenders.
9. Contract award notice
Bidders could expect Notice of award within 10 days after the deadline of submission of tenders.

10. Additional information

Operation

 HYPERLINK "javascript:IzberiBesedo2(2,15)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." , program of development of centre of excellence

 HYPERLINK "javascript:IzberiBesedo2(3,21)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." , with title “Centre of excellence for integrated approaches in chemistry and biology of proteins“ (

 HYPERLINK "javascript:IzberiBesedo2(5,34)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." No. operation OP13.1.1.2.02.0005

 HYPERLINK "javascript:IzberiBesedo2(6,37)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." )

 HYPERLINK "javascript:IzberiBesedo2(7,38)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." , partly finances European Union, namely from European regional development fund. Operation is carried out under the Operational programme for strengthening regional development potentials for period 2007-2013, developmental priority: Competitiveness of enterprises and research excellence; priority orientation: Improvement of competitive abilities of enterprises and research excellence

 HYPERLINK "javascript:IzberiBesedo2(15,135)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." . Operation partly finances European Union, namely from European regional development fund, in height of 85 %

 HYPERLINK "javascript:IzberiBesedo2(18,194)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." . Share of Slovenian co-financing is 15 %

 HYPERLINK "javascript:IzberiBesedo2(19,240)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." .
Legal Notice: 
Legal protection in the process of the contract award shall be governed in accordance with the first article of the Legal protection in public procurement act (Official Gazette of RS, no. 43/11; ZPVPJN hereandafter).
Each bidder who has or has had an interest in obtaining a contract and it is or it could be in breach of the alleged damage occurred, can request an audit and defender of public interest.
The audit request relating to the content of the contract by open procedure and/or written documentation, except in the case of the fourth paragraph of Article 25 of ZPVPJN can be submitted within eight working days from the date of publication of a contract or a notice of additional information, information on incomplete procedure or adjustment, provided this notice to amend or supplement the requirements or criteria for selecting the best bidder in the tender documents or pre-published information contract, but not after the deadline for receipt of tenders.

The deadline for submission an audit request is eight days after receipt of the decision on award.

The audit request must be submitted directly to the contracting authority, by registered mail or registered mail with return receipt or in electronic form, if the electronic form is with the qualified certificate.

The applicant must send the copy of request also to the Ministry of Finance, Sector for public procurement system.

In the audit request the applicant must indicate the following:
· name and address of applicant and contact person,

· name of the contracting authority,

· the code of the contract by open procedure or the award decision note,
· the object of the contract by open procedure,
· the alleged violations,
· well justified violations, evidences of violations,
· indication if it is in the present procurement procedure involved co-financing from European funds and from which fund.
The request must be accompanied by:

• if the applicant is acting with the agent then must enclosed the authorization for the agent to be present in pre-audit and audit procedure,
• proof of payment of tax on the basis of the 71st Article ZPVPJN to:

Bank account: SI56 0110 0100 0358 802
Opened at: Bank of Slovenia, Slovenian 35, 1505 Ljubljana, Slovenia
SWIFT CODE: BS LJ SI 2X
IBAN: SI56 0110 0100 0358 802
Ref: 11 16110-7111290-XXXXXXLL
 (XXXX is the number of publication on the portal e-narocanje, YY are the last digits of the year).
The amount of tax is € 1500.00, if audit application relates to the content of the publication or the contract documents or a one percentage of the value (including VAT) of the tender notice.
Yours sincerely,









Livija Tušar, Ph.D.









Director
Annex:

1. A completed and signed bidder information Form A
2. A completed and signed pro-forma invoice Form B
3. A completed and signed declaration of eligibility Form C
4. Statement of compliance with technical requirements Form D
5. Statement of servicing response time Form E
6. Submitted evidence of collaborations within the past five years with different subscribers Appendix No. 1
7. A completed and signed draft sales agreement Appendix No. 2










Form A
Contracting Authority: 
CO CIPKeBiP

Centre of excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana

Tel. +386 1 477 3857, Fax. +386 1 477 3984

Code: 17-2011
BIDDER INFORMATION
Subject of the contract by open procedure is purchase of Superresolution Combined Light Microscopy. 
Information about the bidder:
	Name:


	

	Address:


	

	Legal representative:


	

	Tax Identification Number:


	

	Registration Number:


	

	Bank account numbers:


	

	Opened at a bank:


	

	Contact Person:


	

	GSM of contact person:


	

	Phone Number:


	

	Fax Number:


	

	E-mail address:


	

	Web page:


	









Responsible for signing the contract:








______________________________








Stamp and signature of the bidder
Place and date:

_______________________________











Form B

Contracting Authority: 

CO CIPKeBiP

Centre of excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana

Tel. +386 1 477 3857, Fax. +386 1 477 3984

Code: 17-2011
Bidder: ........................................................................
Name: .........................................................................
Address: ......................................................................
Tax indentification Number: ........................................
Bank account number: ................................................
PROFORMA INVOICE No.: ______________

Date: ..............................................
Place: ............................................
Subject of the contract by open procedure is purchase of Superresolution Combined Light Microscopy. 

	No.
	Description
	Quantity
	Unit Price(w/t VAT EUR)
	Total Price (w/t VAT EUR)

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	Subtotal (EUR)
	
	
	
	

	Discount(___%) (EUR)
	
	
	
	

	Subtotal taking into account the discount (EUR)
	
	
	
	

	20 %VAT (EUR)
	
	
	
	

	Total for payment (EUR)
	
	
	
	


Prices are final and in them are included all costs for the execution of the contract including transport costs, with a functional layout of equipment and training for users.

Delivery time: maximum of 30 days from signing the contract 
Payment Terms: 60 days of the invoice
Proforma invoice validity: 31 December 2011. 
Bidder: 
Stamp and signature of the bidder:










Form C
Contracting Authority
CO CIPKeBiP

Centre of excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana

Tel. +386 1 477 3857, Fax. +386 1 477 3984

Code: 17-2011
Bidder (company): ___________________

Address _____________________________

DECLARATION of eligibility

Under the criminal and material responsibility declare that we are eligible to participate:

	No
	Terms
	Meet the criteria (Yes/No) 

	1
	We declare that we have a valid registration to do business 
	

	2
	We declare that we have a valid permit from the competent authority for the business, which is the subject of the contract, if the permission of such activities is requested and provided on the basis of special law.
	

	3
	We declare that we and each of our legal representatives, if a legal person is in question, have been not convicted of crimes specified in the first and second paragraph of 42nd Article of the ZJN-2. 
	

	4
	We declare that we are not in the list of business entities which, under the Prevention of Corruption Act, could not business with entities from 1, 2 and 3 paragraph of 28 articles on the Prevention of Corruption Act - ZPKor (Official Gazette RS, no. 8/04).
	

	5
	We declare that we are not in compulsory settlement, bankruptcy or liquidation, and against us has not been introduced the procedure of the compulsory settlement, bankruptcy or liquidation.
	

	6
	We declare that the member of the management, supervisory authority or service agent, as provided by law governing financial management, insolvency proceedings and compulsory winding up, at any time within two years prior to the deadline for submission of tenders in the procurement procedure has not been shareholder with ownership share of more than 25 percent or shareholder of the equity shares of more than 25 percent, or member of management or supervisory authority or agent of the entity over which was initiated bankruptcy proceedings or receivership or is being compulsorily wound.
	

	7
	We declare that we don’t have outstanding, outstanding obligations relating to the payment of social insurance and in respect of payment of taxes in accordance with the legal provisions of the country in which he is established or with those applicable in the Republic of Slovenia.
	

	8
	We declare that we have paid all outstanding obligations to the subcontractors in the previous public procurement procedures (Article 44 ZJN-2).
	

	9
	We declare that we are in accordance with the requirements of the contracting authority capable of performing the contract object technically, personally, timely and financially.
	

	10
	We declare that in submitted tender has been presented a real and non-misleading data and evidences. We also declare that we are not in the list of bidders with negative references prepared by the Ministry of Finance.
	

	11
	We declare that we didn’t get any additional penalty regarding the participation in public procurements on the basis of Article 15.a of the liability of legal persons for criminal acts (Official Gazette RS, no. 98/04 - ZOPOKD - UPB1 and 65/08).
	


We declare that all information provided in this tender is true. The evidences are not misleading. The photocopies of the original documents attached documents. We agree that the contracting authority all data and documents checks from official records. We declare that we will on the contracting authority’s request for information, which does not keep official records, submit the appropriate original evidence.
By signing this form we also declare that we are familiar with all tender documentation and we accepted all conditions of this public contract.

We also declare that we will not have any claim to contracting authority if we will not be selected as the most favourable bidder.

Place___________________, date _____________________

Stamp and signature of bidder:
Form D

Contracting Authority 

 CO CIPKeBiP

Centre of excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana

Tel. +386 1 477 3857, Fax. +386 1 477 3984

Code: 17-2011
Bidder (Company): ___________________

Address: ___________________________
Declaration of compliance with technical requirements
Technical requirements for purchase of the »Superresolution Combined Light Microscopy«:

	No.
	
	Data value, an indication of regulation, or description. explanation of the requirements
	In which the present document and place at which the information is given
	Note

	I.
	II.
	III.
	IV.
	V.

	
	Technical requirements
	
	
	

	1
	Specification(s) microscope stand
Fully motorized inverted research microscope for Superresolution microscopy.

6 Position motorized nosepiece, suitable for DIC, with automatic recognition of objectives. Motorized Z drive, minimum step size 10nm, motorized magnification changer with additional factor of 1,6x. Motorized Apo-chromatic corrected optical path for reflected Light, Metal Halide light source of at least 120W power, The dimming of the light and shutter control must be controllable via Software. High efficiency  (transmission over 95%) Filter set for fluorochromes:  GFP+mRFP+Alexa 633, shift free.

6 Position reflector revolver with automatic filter recognition.

The exchange of filters without any tool.

Transmitted light Illumination 100W.

Motorized condenser 0,55, long working distance with contrast techniques Bright field, Phase contrast, DIC.

Controls of all motorized microscope components via TFT, which is mounted on docking station.

Binocular tube with eyepieces of at least 23 FOV, suitable for spectacle wearers.

Enclosure for temperature incubation 

and laser safety.
	
	
	

	2
	Achieved resolution through structural illuminations
	
	
	

	3
	Typical lateral resolution
100 - 120 nm (for 488)
	
	
	

	4
	Typical axial resolution
300 - 350 nm  (for 488 nm)
	
	
	

	5
	Maximal lateral Resolution
90 nm for 488 nm theoretical
	
	
	

	6
	Maximal axial Resolution
250 nm for 488 nm theoretical
	
	
	

	7
	Excitation laser sources (Lasers)
405nm- 50mW, 488nm-100mW, 561nm-100mW. The System must be prepared for later upgrade with laser line  642nm100mW at customer site.
	
	
	

	8
	Gratings for structural illumination microscopy
Automatic motorized selection of 5 structured illumination grids with appropriate spacing to perfectly match objectives and wavelengths. This ensures optimal superresolution in any combination between wavelengths and objectives.
	
	
	

	
	Achiavable resolution through localization techniques (PALM, STORM) in various modes
	
	
	

	9
	Single fluorophore localization precision
Unlimited,  dependent on number of collected photons and /or signal to noise ratio.; typical 20 nm.
	
	
	

	10
	Special scanning stage (xy and z movements) for 3D acquisition, tiling and stitching
Scanning stage: Traveling range in X Y;  130 x 100mm,resolution: 0.25 µm, reproducibility: < 1 µm, absolute Accuracy: +/- 5 µm; Traveling range in Z 100 µm resolution 5 nm  reproducibility +/- 1nm. 

4 adjusted positions for SIM: BP420-480;BP495-575;BP570-620;LP 655 (multi-colour) or BP420-480/BP570-640; BP420-480/BP 495-560/LP 650; LBF-561/642; LBF-488/561 (fast dual channel).
	
	
	

	11
	Specifications of  Fluorescence Filters
High efficiency  (transmission over 95%) Filter set for fluorochromes:  GFP+mRFP+Alexa 633, shift free

Filterset DualView CFP/YFP.
	
	
	

	12
	Specification of Objectives
Plan-Apochromat 63x/NA 1,40 Oil DIC  for Superesolution.
Required Transmission more than 30% in the range 400nm-1050nm. 

Objective EC Plan-Neofluar 10x/0.3 M27, W.D. 5,2mm.
	
	
	

	13
	Incubator for laser safety and radiation to surrounding
System table, compatible with base-port cameras active air dampening, dimensions : 750x900x770mm.
	
	
	

	14
	Polychrome V with workstation, Software for imaging nad camera Andor Luca S with image splitter  Dualview, with filters for FRET YFP; CFP–
Monochromator-based illumination system for fluorescence microscopy:

- Wavelength range from 320-680 nm

- Wavelength switching speed of upto 400 nm/ms by galvanometric scanner

- Jump to any supported wavelength with less than 1.7ms transition time.

- 150WXenon-Lamp (UXL-S150MO) with highly

- Quartz fiber to couple the polychrome to the condenser

Achromatic EPI-Fluorescence Condenser 1-Port for inverted microscope

High End Imaging Workstation RAID

- Intel Xeon W3530

(2,8GHz,4C, 8T, 8MB L3 Cache, 4,8GT/s)

- 6GB RAM (1333MHz ECC DDR3 2x2GB)

- 1x250GB S-ATA hard disk

- 2x1TB S-ATA hard disk 7200rpm

- Software: Windows XP, Office 2007 Basic

19" TFT Flat Panel Screen 2x

C-mount adapter  for camera

EMCCD  Camera for rapid acquisition

- QE 52% @500nm

- TE cooling-: -20°C

- Chip: 658 x 496 Pixel

- Pixel Size: 10x10um

- Readout Rate: 12,5Mhz

- Readout Noise: 15e-, <1e- with EM-gain

- Dark Current: 0.05 e-/pix/s

- Digitization: 14bit

- EM-Gain: 1-200

Live Acquisition Advanced Bundle

Includes the following software modules:

- Live Acquisition

- Protocol Editor

- Offline Analysis

On- and Offline analysis module for Kinetics and RATIO are included

Installation & startup support

1 day in our laboratory.
	
	
	

	15
	Objective C-Apochromat 63x/1.20 W Corr
The objective must be compatible with existing microscope Axio Observer A1.
	
	
	

	16
	Plan-Apochromat 63x/1.40 Oil DIC for DualView
	
	
	

	
	Software

	
	
	

	1
	For control and evaluation for photo activated localized microscopy

and for control and evaluation for structure illuminated microscopy
	
	
	

	2
	Acquisition parameters are stored with each image (pixel size acquisition tine, etc).
	
	
	

	3
	User-specific, individual workspace setups can be stored within the software according to the user’s needs and applications.
	
	
	

	4
	Single particle tracking, fiducial correction, activation power controlled
	
	
	

	5
	User friendly pixel-by-pixel overlap calibration for all detection channels (compensation for lateral pixel shifts and also pincushion-type distortions). Additionally drift compensation by fiducial tracking on all detection channels.
	
	
	

	6
	Specifications of PC to drive the microscope

- CPU: 2x Intel Xeon X5650 6-Core 2.66 GHz 12 MB / 1333 MHz, Chipset:Dual Intel 5520

- Graphics card ATI FirePro V5800 (1GB) or similar

- Memory: max. 96 GB RAM (2 CPUs);

- Memory slots: 12 x DDR3-RAM Module / 1333 MHz ECC (2 CPUs)

- current Memory: 6 x 4GB

- Hard drives: 1 x 250 GB SATA 7200 upm and 4 x 1 TB SATA 7200 upm

(configured as 2 TB RAID 10 hard drive)

- DVD +/- RW

- LAN: 2x 10/100/1000 on-board ethernet

- USB 2.0 (3 x front, 6 x rear), 2 x FireWire

- Win 7 Ultimate 64 bit

- LVDS - express Interface
	
	
	

	7
	Visualization modes: standard 2D, gallery mode (by channel, time or z-section), orthogonal views (xy, xz or yz), cut (3D section), simple 3D renderings (transparent, maximum projection, surface, etc).
	
	
	

	8
	Image processing: Maximum intensity projection, depth coding in false colours, brightness, contrast and gamma settings, color selection tables (LUTs), drawing and annotation tools (e.g. scale bar), measurement of distances and angles, simple image operations (addition, subtraction, multiplication, division), shifting and filtering (gauss, median, etc.), image correlation (ICS), channel shift and many more possibilities.
	
	
	

	9
	Accessof raw data
	
	
	

	10
	Export of raw data (yes/no)
	
	
	

	11
	Batch export (yes/no)
	
	
	

	12
	Specifiaction(s) of non proprietary image formats:

TIF, BMP, GIF, JPG, PNG
	
	
	


Instructions for filling the table:

The name, model/type and manufacturer of the offered product should be written under the serial numbers of I. to III. 
The actual information or a de facto state or the required regulations, standards, etc. or briefly explain the particular/individual requirement for each point of technical requirements should be written in column III. For requests which could be expressed numerically, the numerical value, or unit, quantity, and etc. must be entered. For other information is required to accurately describe the feature or enter a "Yes" if the requirement is met. In the case that the bidder shall enter "No" means that the bidder not fulfil the contracting authority demand.

In column IV the position of additional data about the offered product have to be specified i.e. a technical book in an annex, chapter, page of the attached documentation. To facilitate the review is also necessary to visible mark (underline, circle, tick pid) mentioned additional data in enclosed documentation about the offered product.

In a column V the bidder may enter additional comments / information in connection with the information requested in columns III and IV.

Place ___________________, date _____________________

Stamp and signature of bidder:










Form E

Contracting Authority 

 CO CIPKeBiP

Centre of excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana

Tel. +386 1 477 3857, Fax. +386 1 477 3984

Code: 17-2011
Bidder (Company): ___________________

Address: ___________________________

SERVICING RESPONSE TIME 
We hereby state that our servicing response time is not more than five working days after the receipt of the client’s notification.

This statement is an integral part of, and an annex to, the bidder’s application relating to the public tender for the supply of the Superresolution Combined Light Microscopy, contract code: 17-2011.

Place ___________________, date _____________________

Stamp and signature of the bidder:
Attachment no. 1

Contracting Authority 
CO CIPKeBiP

Centre of excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana

Tel. +386 1 477 3857, Fax. +386 1 477 3984

Code: 17-2011
Seller (Company): ___________________

Address _____________________________

Evidence of collaborations within the past five years with different subscribers
List at least three collaborations within the past five years with different subscribers.

	No.
	Reference customer 
	Equipment 
	Time of realization 

	
	
	
	

	
	
	
	

	
	
	
	


Place ___________________, date _____________________

Stamp and signature of bidder:

Attachment no. 2
SAMPLE SALES AGREEMENT

Code: 17-2011
Centre of excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana, represented by director dr. Livija Tušar, tax identification number: SI90147502, as a client
and
__________________________________________, represented by _______________________ ____________________________________________________________________, as a supplier
Hereby agree and conclude the following

Sales agreement
No._________

Article 1
The parties acknowledge that 
a) The client implemented the contract by open procedure on the basis of the 25th Article of the Public Procurement Act ZJN-2 for the purchase of Superresolution Combined Light Microscopy (hereinafter: the object of the agreement), 
b) The supplier was selected as the best provider for the delivery of the object of the agreement, 
c) Operation, the development of centre of excellence program, entitled Centre of Excellence for integrated approaches in chemistry and biology of proteins (operations no. OP13.1.1.2.02.0005), partly funded by the European Union, namely by the European Regional Development Fund. The operation is carried out under the Operational programme for Strengthening Regional Development Potentials 2007-2013, development priority: Competitiveness of enterprises and research excellence, policy priorities: Improving the competitive abilities of enterprises and research excellence. The operation is partly financed by the European Union through the European Regional Development Fund, up to 85%. Slovenian co-financing share is 15%.
Article 2

A supplier sells, client buys object of the agreement on the basis of pro-forma invoice no. _

 HYPERLINK "javascript:IzberiBesedo2(1,37)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,38)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,39)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,40)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,41)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,42)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _ from day _

 HYPERLINK "javascript:IzberiBesedo2(1,46)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,47)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,48)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,49)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,50)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,51)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,52)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,53)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,54)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,55)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _ .
The supplier declares that the object of agreement is fulfilling all technical requirements of the client determined in the “Invitation to submit the tender”, with contract code: 17-2011, dated 13 October 2011 and confirmed by the supplier in a statement of compliance with technical requirements, which is an integral part of tender documentation.
Article 3

The parties agreed that the contractual price for the object of the agreement is __________________________________EUR VAT is included and _________________ EUR without VAT. Both agreed that the final contractual price includes the purchase price; value added tax and other potential costs that could incur until reception of the object of the agreement. The supplier shall provide free-of-charge transportation of the equipment and its functional installation. 
Article 4
The delivery period for the equipment that is the object of the agreement is _____ days after the signing date of the sale agreement.

For each day of delay in execution of contractual obligations amounts to a penalty of 0.25% of contract value, including VAT but no more than 10% of contract value, including VAT.
The client shall sign the handover note after establishing that the correctly delivered equipment has been properly installed and that the supplier presented to the client the warranty certificates.
Article 5

The supplier account the invoice after delivery of the object of the agreement and the client pays it within 60 days.
Article 6

The responsibility for keeping the equipment undamaged is transferred from the supplier to the client once the equipment is delivered to the client. 

The supplier provides the client with a warrantee to cover the quality of the equipment and its smooth operation at least to an extent equal to the extent of the warrantee given by the producer of the equipment to the supplier, i.e., ……..years following the date of the receipt of the equipment. 

During the warrantee period the supplier shall provide for an on-site repair service that shall be carried out in a response time of five working days after the receipt of a notification.   

If the equipment has not been repaired within the above period, the supplier shall provide, for the time during which the equipment is being repaired, an equivalent substitute piece of equipment or a part of the equipment. In this case the warranty period shall be extended by a time equal to the duration of the repair work.  

All transport costs and other costs relating to the repair work made during the warranty period are charged to the supplier. 

Article 7
The contract is not valid in the case that someone in the name of or on behalf of the contractor, representative or broker customer promises, offers or gives any undue advantage to:
- The acquisition of businesses or
- To conclude a deal on more favorable terms or
- The omission of due supervision over the implementation of contractual obligations or
- For the second act or omission by which the customer damage or undue advantage to obtain a representative or agent client, artist or his representative, agent, broker.
Article 8
The parties agreed that they will fulfill all requirements to execute the agreement. 
Each Contracting Party may propose amendments to this sale agreement. Amendments shall be valid only if made in writing as an annex to this sale agreement.

Article 9
In the case that the contracting parties cannot settle a dispute by common consent, they shall abide by the decision of the competent court in Ljubljana. 

Article 10
The sale agreement is drawn up in two identical copies so that each contracting party receives one copy. This agreement comes into force on the day when it is signed by both contracting parties.
Date:
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Client:

Centre of excellence for integrated 
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Director:







Dr. Livija Tušar
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